{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"external_links":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":65,"n_cols":15,"rows_kept":65,"merged":[[0,1,0,14],[1,1,1,14],[2,1,4,2],[2,3,4,4],[2,5,2,10],[2,11,4,11],[2,12,4,12],[2,13,4,13],[2,14,4,14],[3,5,4,5],[3,6,4,6],[3,7,4,7],[3,8,4,10],[5,1,8,2],[5,3,5,4],[5,8,5,10],[5,11,8,11],[5,12,8,12],[5,14,15,14],[6,3,6,4],[6,8,6,10],[7,3,7,4],[7,8,7,10],[8,3,8,4],[8,8,8,10],[9,1,12,2],[9,3,9,4],[9,8,9,10],[9,11,12,11],[9,12,12,12],[10,3,10,4],[10,8,10,10],[11,3,11,4],[11,8,11,10],[12,3,12,4],[12,8,12,10],[13,1,15,2],[13,3,13,4],[13,8,13,10],[13,11,15,11],[13,12,15,12],[14,3,14,4],[14,8,14,10],[15,3,15,4],[15,8,15,10],[16,1,16,14],[17,1,17,3],[17,5,17,6],[17,7,17,9],[17,10,17,13],[18,1,18,3],[18,5,18,6],[18,7,18,9],[18,10,18,13],[19,1,19,3],[19,5,19,6],[19,7,19,9],[19,10,19,13],[20,1,20,3],[20,5,20,6],[20,7,20,9],[20,10,20,13],[21,1,22,3],[21,4,22,14],[23,1,23,14],[24,1,24,2],[24,3,24,4],[24,5,24,9],[24,10,24,11],[24,12,24,13],[25,1,25,2],[25,3,25,4],[25,5,28,9],[25,10,28,11],[25,14,28,14],[26,1,26,2],[26,3,26,4],[27,1,27,2],[27,3,27,4],[28,1,28,2],[28,3,28,4],[29,1,29,14],[30,1,30,14],[31,1,31,14],[32,1,32,2],[32,3,32,4],[32,8,32,9],[32,10,32,11],[32,12,32,13],[33,1,33,2],[33,3,33,4],[33,8,33,9],[33,10,33,11],[33,12,33,13],[35,1,35,14],[36,4,36,6],[36,7,36,8],[36,11,36,14],[37,2,49,2],[37,4,37,6],[37,7,37,8],[37,11,37,14],[38,4,38,6],[38,7,38,8],[38,11,38,14],[39,4,39,6],[39,7,39,8],[39,11,39,14],[40,4,40,6],[40,7,40,8],[40,11,40,14],[41,4,41,6],[41,7,41,8],[41,11,41,14],[42,4,42,6],[42,7,42,8],[42,11,42,14],[43,4,43,6],[43,7,43,8],[43,11,43,14],[44,4,44,6],[44,7,44,8],[44,11,44,14],[45,4,45,6],[45,7,45,8],[45,11,45,14],[46,4,46,6],[46,7,46,8],[46,11,46,14],[47,4,47,6],[47,7,47,8],[47,11,47,14],[48,4,48,6],[48,7,48,8],[48,11,48,14],[49,4,49,6],[49,7,49,8],[49,11,49,14],[51,3,51,4],[51,6,51,8],[51,9,51,10],[52,2,57,2],[52,3,53,3],[52,6,57,8],[52,9,57,10],[54,3,55,3],[56,3,57,3],[59,1,59,11],[60,1,62,2],[60,3,62,3],[60,4,62,4],[60,5,62,5],[60,6,62,7],[60,8,62,8],[60,9,62,9],[60,10,62,10],[60,11,62,11],[63,1,66,2],[63,3,64,3],[63,4,64,4],[63,5,64,5],[63,6,64,7],[63,9,64,9],[63,10,64,10],[63,11,66,11],[65,6,65,7],[66,6,66,7]],"flags":["formulas_cached_only"]}
[null,"常州市环境卫生管理中心焚烧综合处置中心自行环境监测公开信息表"]
[null,"一、废气（无组织）"]
[null,"检测项目",null,"检测时间",null,"排放浓度mg/m³,臭气浓度无量纲",{"$nulls":5},"周界浓度最大值","参照标准限值","是否达标","监测单位"]
[{"$nulls":5},"无组织1#","无组织2#","无组织3#","无组织4#"]
[]
[null,"氨",null,"2021.10.18",null,"ND",0.01,0.02,0.03,null,null,0.03,"1.5","是","苏州华测检测技术有限公司"]
[{"$nulls":3},"2021.10.18",null,"ND",0.02,0.02,0.02,{"$nulls":4},"是"]
[{"$nulls":3},"2021.10.18",null,"ND",0.02,0.02,0.02,{"$nulls":4},"是"]
[{"$nulls":3},"最大值",null,"ND",0.02,0.02,0.03,{"$nulls":4},"是"]
[null,"臭气浓度",null,"2021.10.18",null,15,18,17,17,null,null,{"v":18,"d":"18.0"},"20","是"]
[{"$nulls":3},"2021.10.18",null,14,17,16,16,{"$nulls":4},"是"]
[{"$nulls":3},"2021.10.18",null,15,18,18,17,{"$nulls":4},"是"]
[{"$nulls":3},"最大值",null,15,18,18,17,{"$nulls":4},"是"]
[null,"废气（无组织）",null,"2021.10.18",null,0.201,0.334,0.334,0.301,null,null,0.334,"1.0","是"]
[{"$nulls":3},"2021.10.18",null,0.167,0.317,0.317,0.3,{"$nulls":4},"是"]
[{"$nulls":3},"2021.10.18",null,0.167,0.317,0.334,0.301,{"$nulls":4},"是"]
[null,"气象参数："]
[null,"气象参数",null,null,"温度℃","大气压kPa",null,"相对湿度%",null,null,"风速m/s",{"$nulls":3},"风向"]
[null,"09:34～10:34",null,null,15.4,102.4,null,61,null,null,3.1,{"$nulls":3},"北"]
[null,"11:345～12:34",null,null,16.8,102.2,null,57,null,null,2.6,{"$nulls":3},"北"]
[null,"13:34～14:34",null,null,17.4,101.9,null,53,null,null,2.6,{"$nulls":3},"北"]
[]
[]
[null,"二、厂界噪声"]
[null,"序号",null,"检测点位置",null,"检测时段",{"$nulls":4},"主要声源",null,"结果（单位：dB（A）",null,"工业企业厂界环境噪声排放标准GB12348-2008 2类 （昼间）"]
[null,1,null,"附图1#",null,"2021.10.18 昼间10:03～10:28",{"$nulls":4},"工业噪声（昼间）",null,"昼间",{"v":50.4,"d":"50.40"},"60dB（A）"]
[null,2,null,"附图2#",{"$nulls":8},"昼间",{"v":52.2,"d":"52.20"}]
[null,3,null,"附图3#",{"$nulls":8},"昼间",{"v":53.3,"d":"53.30"}]
[null,4,null,"附图4#",{"$nulls":8},"昼间",{"v":52.2,"d":"52.20"}]
[null,"注：厂界噪声为现场检测"]
[null,"厂界噪声气象参数："]
[null,"检测点：厂界东、西、南、北外1米"]
[null,"参数",null,"结果",{"$nulls":4},"单位",null,"参数",null,"结果",null,"单位"]
[null,"天气情况",null,"阴",{"$nulls":4},"/",null,"风速",null,3.1,null,"m/s"]
[]
[null,"三、固化飞灰重金属检测"]
[null,"序号","监测对象","监测项目","监测时间",null,null,"监测结果mg/L",null,"标准值","是否达标","监测单位"]
[null,1,"固化飞灰","汞","2021.10.22",null,null,8e-05,null,0.05,"是","苏州市华测检测技术有限公司"]
[null,2,null,"钡","2021.10.22",null,null,0.988,null,"25","是","苏州市华测检测技术有限公司"]
[null,3,null,"铍","2021.10.22",null,null,"ND",null,0.02,"是","苏州市华测检测技术有限公司"]
[null,4,null,"镉","2021.10.22",null,null,"ND",null,0.15,"是","苏州市华测检测技术有限公司"]
[null,5,null,"总铬","2021.10.22",null,null,0.32,null,4.5,"是","苏州市华测检测技术有限公司"]
[null,6,null,"锌","2021.10.22",null,null,0.097,null,100,"是","苏州市华测检测技术有限公司"]
[null,7,null,"铜","2021.10.22",null,null,"ND",null,40,"是","苏州市华测检测技术有限公司"]
[null,8,null,"镍","2021.10.22",null,null,"ND",null,0.5,"是","苏州市华测检测技术有限公司"]
[null,9,null,"铅","2021.10.22",null,null,"ND",null,0.25,"是","苏州市华测检测技术有限公司"]
[null,10,null,"硒","2021.10.22",null,null,0.005,null,0.1,"是","苏州市华测检测技术有限公司"]
[null,11,null,"砷","2021.10.22",null,null,0.0028,null,0.3,"是","苏州市华测检测技术有限公司"]
[null,12,null,"六价铬","2021.10.22",null,null,"ND",null,1.5,"是","苏州市华测检测技术有限公司"]
[null,13,null,"含水率（%）","2021.10.22",null,null,{"v":0.0432,"d":"4.32%"},null,{"v":0.3,"d":"30%"},"是","苏州市华测检测技术有限公司"]
[null,"四、","雨水检测"]
[null,"序号","检测对象","检测项目",null,"结果","检测单位",null,null,"检测时间"]
[null,1,"雨水排放口雨水","样品1","化学需氧量",14,"苏州市华测检测技术有限公司",null,null,"2021.10.19"]
[null,2,null,null,"悬浮物",7]
[null,3,null,"样品2","化学需氧量",19]
[null,4,null,null,"悬浮物",8]
[null,5,null,"样品3","化学需氧量",14]
[null,6,null,null,"悬浮物",9]
[]
[null,"五、飞灰处理量（2021年10月份）"]
[null,"企业名称",null,"经营种类","利用处置能力（吨/年）","危险废物接收量(吨)","危险废物实际利用处置量（吨）",null,"次生危险废物种类及编号","次生危险废物实际产生量（吨）","次生危险废物去向","存在危险废物相关问题及整改情况"]
[]
[]
[null,"常州市环境卫生管理中心焚烧综合处置中心",null,"生活垃圾焚烧飞灰",11500,740.79,740.79,null,"生活垃圾焚烧飞灰",0,null,"无"]
[{"$nulls":8}," HW18"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}