{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":45,"n_cols":15,"rows_kept":45,"merged":[[0,1,0,14],[1,1,1,14],[2,1,4,2],[2,3,4,4],[2,5,2,10],[2,11,4,11],[2,12,4,12],[2,13,4,13],[2,14,4,14],[3,5,4,5],[3,6,4,6],[3,7,4,7],[3,8,4,10],[5,1,8,2],[5,3,5,4],[5,8,5,10],[5,11,8,11],[5,12,8,12],[5,14,8,14],[6,3,6,4],[6,8,6,10],[7,3,7,4],[7,8,7,10],[8,3,8,4],[8,8,8,10],[9,1,9,14],[10,1,10,3],[10,5,10,6],[10,7,10,9],[10,10,10,13],[11,1,11,3],[11,5,11,6],[11,7,11,9],[11,10,11,13],[12,1,12,3],[12,5,12,6],[12,7,12,9],[12,10,12,13],[13,1,13,3],[13,5,13,6],[13,7,13,9],[13,10,13,13],[15,1,15,14],[16,4,16,6],[16,7,16,8],[16,11,16,14],[17,2,29,2],[17,4,17,6],[17,7,17,8],[17,11,17,14],[18,4,18,6],[18,7,18,8],[18,11,18,14],[19,4,19,6],[19,7,19,8],[19,11,19,14],[20,4,20,6],[20,7,20,8],[20,11,20,14],[21,4,21,6],[21,7,21,8],[21,11,21,14],[22,4,22,6],[22,7,22,8],[22,11,22,14],[23,4,23,6],[23,7,23,8],[23,11,23,14],[24,4,24,6],[24,7,24,8],[24,11,24,14],[25,4,25,6],[25,7,25,8],[25,11,25,14],[26,4,26,6],[26,7,26,8],[26,11,26,14],[27,4,27,6],[27,7,27,8],[27,11,27,14],[28,4,28,6],[28,7,28,8],[28,11,28,14],[29,4,29,6],[29,7,29,8],[29,11,29,14],[31,3,31,4],[31,6,31,8],[31,9,31,10],[32,2,37,2],[32,3,33,3],[32,6,37,8],[32,9,37,10],[34,3,35,3],[36,3,37,3],[39,1,39,11],[40,1,42,2],[40,3,42,3],[40,4,42,4],[40,5,42,5],[40,6,42,7],[40,8,42,8],[40,9,42,9],[40,10,42,10],[40,11,42,11],[43,1,46,2],[43,3,44,3],[43,4,44,4],[43,5,44,5],[43,6,44,7],[43,9,44,9],[43,10,44,10],[43,11,46,11],[45,6,45,7],[46,6,46,7]],"flags":["formulas_cached_only"]}
[null,"常州市环境卫生管理中心焚烧综合处置中心自行环境监测公开信息表"]
[null,"一、废气（无组织）"]
[null,"检测项目",null,"检测时间",null,"排放浓度mg/m³,臭气浓度无量纲",{"$nulls":5},"周界浓度最大值","参照标准限值","是否达标","监测单位"]
[{"$nulls":5},"上风向1#（北厂界）","下风向1#（西南厂界）","下风向1#（南厂界）","下风向4#（东南厂界）"]
[]
[null,"硫化氢",null,"2023.04.26",null,"ND","ND","ND","ND",null,null,"ND","0.06","是","苏州华测检测技术有限公司"]
[{"$nulls":3},"2023.04.26",null,"ND","ND","ND","ND",{"$nulls":4},"是"]
[{"$nulls":3},"2023.04.26",null,"ND","ND","ND","ND",{"$nulls":4},"是"]
[{"$nulls":3},"最大值",null,"ND","ND","ND","ND",{"$nulls":4},"是"]
[null,"气象参数："]
[null,"气象参数",null,null,"温度℃","大气压kPa",null,"相对湿度%",null,null,"风速m/s",{"$nulls":3},"风向"]
[null,"12:50～13:50",null,null,22.3,101.6,null,52,null,null,2.2,{"$nulls":3},"北"]
[null,"14:50～15:50",null,null,22.9,101.5,null,43,null,null,2.3,{"$nulls":3},"北"]
[null,"16:50～17:50",null,null,21.6,101.7,null,47,null,null,2.4,{"$nulls":3},"北"]
[]
[null,"三、固化飞灰重金属检测"]
[null,"序号","监测对象","监测项目","监测时间",null,null,"监测结果mg/L",null,"标准值","是否达标","监测单位"]
[null,1,"固化飞灰","汞","2023.05.11",null,null,0.00276,null,0.05,"是","苏州市华测检测技术有限公司"]
[null,2,null,"钡","2023.05.11",null,null,1.92,null,"25","是","苏州市华测检测技术有限公司"]
[null,3,null,"铍","2023.05.11",null,null,"ND",null,0.02,"是","苏州市华测检测技术有限公司"]
[null,4,null,"镉","2023.05.11",null,null,"ND",null,0.15,"是","苏州市华测检测技术有限公司"]
[null,5,null,"总铬","2023.05.11",null,null,0.05,null,4.5,"是","苏州市华测检测技术有限公司"]
[null,6,null,"锌","2023.05.11",null,null,0.08,null,100,"是","苏州市华测检测技术有限公司"]
[null,7,null,"铜","2023.05.11",null,null,"ND",null,40,"是","苏州市华测检测技术有限公司"]
[null,8,null,"镍","2023.05.11",null,null,"ND",null,0.5,"是","苏州市华测检测技术有限公司"]
[null,9,null,"铅","2023.05.11",null,null,"ND",null,0.25,"是","苏州市华测检测技术有限公司"]
[null,10,null,"硒","2023.05.11",null,null,0.011,null,0.1,"是","苏州市华测检测技术有限公司"]
[null,11,null,"砷","2023.05.11",null,null,0.0143,null,0.3,"是","苏州市华测检测技术有限公司"]
[null,12,null,"六价铬","2023.05.11",null,null,"ND",null,1.5,"是","苏州市华测检测技术有限公司"]
[null,13,null,"含水率（%）","2023.05.11",null,null,{"v":0.0604,"d":"6.04%"},null,{"v":0.3,"d":"30%"},"是","苏州市华测检测技术有限公司"]
[null,"四、","雨水检测"]
[null,"序号","检测对象","检测项目",null,"结果","检测单位",null,null,"检测时间"]
[null,1,"雨水排放口雨水","样品1","化学需氧量",15,"苏州市华测检测技术有限公司",null,null,"2023.05.09"]
[null,2,null,null,"悬浮物",9]
[null,3,null,"样品2","化学需氧量",16]
[null,4,null,null,"悬浮物",9]
[null,5,null,"样品3","化学需氧量",11]
[null,6,null,null,"悬浮物",9]
[]
[null,"五、飞灰处理量（2023年5月份）"]
[null,"企业名称",null,"经营种类","利用处置能力（吨/年）","危险废物接收量(吨)","危险废物实际利用处置量（吨）",null,"次生危险废物种类及编号","次生危险废物实际产生量（吨）","次生危险废物去向","存在危险废物相关问题及整改情况"]
[]
[]
[null,"常州市环境卫生管理中心焚烧综合处置中心",null,"生活垃圾焚烧飞灰",11500,617.57,617.57,null,"飞灰布袋",0,null,"无"]
[{"$nulls":8}," HW18"]