{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["雨水、飞灰固化物","Sheet3"],"not_rendered":{"external_links":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"雨水、飞灰固化物","index":0,"n_rows":31,"n_cols":11,"rows_kept":31,"merged":[[0,1,0,10],[1,1,1,10],[2,8,2,9],[3,2,15,2],[3,8,3,9],[4,8,4,9],[5,8,5,9],[6,8,6,9],[7,8,7,9],[8,8,8,9],[9,8,9,9],[10,8,10,9],[11,8,11,9],[12,8,12,9],[13,8,13,9],[14,8,14,9],[15,8,15,9],[18,3,18,4],[18,6,18,8],[18,9,18,10],[19,2,24,2],[19,3,20,3],[19,6,24,8],[19,9,24,10],[21,3,22,3],[23,3,24,3],[25,1,25,10],[26,1,28,2],[26,3,28,3],[26,4,28,4],[26,5,28,5],[26,6,28,7],[26,8,28,8],[26,9,28,9],[26,10,28,10],[29,1,33,2],[29,3,30,3],[29,4,30,4],[29,5,30,5],[29,6,30,7],[29,9,30,9],[29,10,30,10],[31,6,31,7],[32,6,32,7],[33,6,33,7]],"flags":["formulas_cached_only"]}
[null,"常州市环境卫生管理中心焚烧综合处置中心自行环境监测公开信息表"]
[null,"一、固化飞灰重金属检测"]
[null,"序号","监测对象","监测项目","监测时间","监测结果mg/L","标准值","是否达标","监测单位"]
[null,1,"固化飞灰","汞","2023.07.04",0.00062,0.05,"是","苏州市华测检测技术有限公司"]
[null,2,null,"钡","2023.07.04",{"v":2.13,"d":"2.130"},"25","是","苏州市华测检测技术有限公司"]
[null,3,null,"铍","2023.07.04","ND",0.02,"是","苏州市华测检测技术有限公司"]
[null,4,null,"镉","2023.07.04","ND",0.15,"是","苏州市华测检测技术有限公司"]
[null,5,null,"总铬","2023.07.04",0.04,4.5,"是","苏州市华测检测技术有限公司"]
[null,6,null,"锌","2023.07.04",0.1,100,"是","苏州市华测检测技术有限公司"]
[null,7,null,"铜","2023.07.04","ND",40,"是","苏州市华测检测技术有限公司"]
[null,8,null,"镍","2023.07.04","ND",0.5,"是","苏州市华测检测技术有限公司"]
[null,9,null,"铅","2023.07.04","ND",0.25,"是","苏州市华测检测技术有限公司"]
[null,10,null,"硒","2023.07.04",0.00974,0.1,"是","苏州市华测检测技术有限公司"]
[null,11,null,"砷","2023.07.04",0.00299,0.3,"是","苏州市华测检测技术有限公司"]
[null,12,null,"六价铬","2023.07.04","ND",1.5,"是","苏州市华测检测技术有限公司"]
[null,13,null,"含水率（%）","2023.07.04",{"v":0.045,"d":"4.50%"},{"v":0.3,"d":"30%"},"是","苏州市华测检测技术有限公司"]
[]
[null,"二、","雨水检测"]
[null,"序号","检测对象","检测项目",null,"结果","检测单位",null,null,"检测时间"]
[null,1,"雨水排放口雨水","样品1","悬浮物",8,"苏州市华测检测技术有限公司",null,null,"2023.07.04"]
[null,2,null,null,"化学需氧量",11]
[null,3,null,"样品2","悬浮物",9]
[null,4,null,null,"化学需氧量",12]
[null,5,null,"样品3","悬浮物",9]
[null,6,null,null,"化学需氧量",12]
[null,"三、飞灰处理量（2023年7月份）"]
[null,"企业名称",null,"经营种类","利用处置能力（吨/年）","危险废物接收量(吨)","危险废物实际利用处置量（吨）",null,"次生危险废物种类及编号","次生危险废物实际产生量（吨）","次生危险废物去向"]
[]
[]
[null,"常州市环境卫生管理中心焚烧综合处置中心",null,"生活垃圾焚烧飞灰",11500,582.87,582.87,null,"生活垃圾焚烧飞灰",0]
[{"$nulls":8}," HW18"]

{"sheet":"Sheet3","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}